APENDICE B2 (adicional)

| Norma | Titulo | Sección |
| --- | --- | --- |
| UL 1449 | Standard for Surge Protective Devices | Artículo 100 (Dispositivo de protección contra tensiones transitorias (PTT) (tipo 4) |
| ANSI/UL 1203-1999 | Explosion Proof Dust-Ignition-Proof Electrical Equipment for Use in Hazardous (Classified) Locations | Artículo 100 (Equipo a prueba de explosión) |
| UL 943 | Standard for Ground-Fault Circuit Interrupters | Artículo 100 (Interruptor de circuito contra fallas a tierra (ICFT)) |
| ANSI/IEEE C62.11-2005 ANSI/IEEE C62.22-1987 | Standard for Metal-Oxide Surge Arresters for Alternating-Current Power Circuits (>1 KV) Guide for the Application of Metal-Oxide Surge Arresters for Alternating-Current Systems | 280.4 (B) NOTA No 1 |
| NFPA 251-2006 | Standard Methods of Tests of Fire Resistance of Building Construction and Materials | 300.11 (A)(1) |
| NFPA 79-2007 | Tabla 13.5.1 en el documento Electrical Standard for Industrial Machinery | 310.15 (A)(1) NOTA No 2 |
| IEEE 835-1994 (IPCEA Pub. No. P-46-426) | Standard Power Cable Ampacity Tables y las referencias allí incluidas en cuanto a disponibilidad de todos los factores y constantes | 310.60 (C) NOTA No 1 |
| ANSI/SCTE 77-2002 | Documento: Specification for Underground Enclosure Integrity | 314.30 |
| NFPA 220-2006 | Documento: Standard on Types of Building Construction, el código de construcción aplicable, o ambos | 334.10 (3) NOTA No 1 |
| NFPA 220 | Anexo E para la determinación de los tipos de edificios (Tabla 3-1) | 334.10 (3) NOTA No 2 |
| ANSI/ASME B.1.20.1-1983 | Documento: Standards for Pipe Threads, General Purpose (Inch) | 342.28 |
| ANSI/ASME B.1.20.1.-1983. | Documento: Standards for Pipe Threads, General Purpose (Inch) | 344.28 |
| ANSI C37.23-1987 (R 1991) | Documento: Guide for Metal-Enclosed Bus and Calculating Losses in Isolated-Phase Bus, para los requisitos de construcción y ensayo de las barras conductoras con envolventes metálicos | 368.320 (7) |
| ANSI/NEMA-VE 1-1998 NEMA-VE 2-1996 NEMA-FG-1998 | Metal Cable Tray Systems Metal Cable Tray Installation Guidelines Nonmetallic Cable Tray Systems. | 392.1 |
| ANSI/NEMA WD 6-2002 | National Electrical Manufacturers Association, Standard for Dimensions of Attachment Pligs and Receptacles | 406.8 (A) |
| ANSI/NEMA WD 6-2002 | National Electrical Manufacturers Association, Standard for Dimensions of Attachment Pligs and Receptacles | 406.8 (B) (1) |
| ANSI C78.389 | American National Standard for Electric lamps - High Intensity Discharge, Methods of Measuring Characteristics | 410.130 (F) (5) |
| ANSI/ASTM E84-1997 | Test Method for Surface Burning Characteristics of Building Materials | 410.136 (B) |
| ANSI Z21.22-1999/CSA 4.4-M99 | Relief Valves for Hot Water Supply Systems | 422.47 (2) Excepción No 2 |
| ANSI/UL 541-2005 ó ANSI/UL 751-2005 | Standard for Refrigerated Vending Machines y Standard for Vending Machines | 422.51 |
| NFPA 90A-2000 NFPA 90B-2006 | Standard for the Installation of Air Conditioning and Ventilating systems y Standard for the Installation of Warm Air Heating and Air Conditioning Systems | 424.66 |
| ANSI/IEEE Std. 515-2002 ANSI/IEEE Std. 844-2000 ANSI/NECA 202-2001 | Standard for the Testing, Design, Installation and Maintenance of Electrical Resistance Heat Tracing for Industrial Applications y Recommended Practice for Electrical Impedance, Induction, and Skin Effect Heating of Pipelines and Vessels y Recommended Practice for Installing and Maintaining Industrial Heat Tracing Systems | 427.1 |
| ANSI/NEMA MG 1-1993 ANSI/IEEE 100-1996 | Motors and Generators, Part I, Definitions y Standard Dictionary of Electrical and Electronic Terms | 430.7 (A) (9) |
| ANSI/IEEE Std. 141, IEEE ANSI/IEEE Std. 241 | Recommended Practice for Electric Power Distribution for Industrial Plants y Recommended Practice for Electric Power systems in Commercial Buildings | 430.26 |
| NEMA Standards Publication No. MG1-1993 | Revision, Motors and Generators, parte 12.59 | 430.52 (C) (3) |
| NFPA 70E-2004 | Standard for Electrical Safety in the Workplace | 430.102 (B) (2) (b) NOTA No 2 |
| ANSI/IEEE C57.12.00-1993 ANSI/IEEE C57.12.01-1989 | General Requirements for Liquid-Inmersed Distribution, Power, and Regulating Transformers y General Requirements for Dry-Type Distribution and Power Transformers | 450.9 NOTA No 1 |
| ANSI/IEEE C57.110-1993 | Recommended Practice for Establishing Transformer Capability When Supplying Nonsinusoidal Load Currents | 450.9 NOTA No 2 |
| ANSI/ASTM E119-1995 NFPA 251-2006 | Method for Fire Tests of Building Construction and Materials y Standard Methods of Tests of Fire Resistance of Building Construction and Materials | 450.21 (B) Excepción No 2, NOTA |
| NFPA 220-2006 | Standard on Types of Building Construction, Materiales combustibles hace referencia a los materiales no clasificados como no combustibles o de combustible limitado, como se definen en el documento NFPA 220-2006 | 450.23 (B) (2) NOTA No 1 |
| ANSI C2-2007 | National Electrical Safety Code | 450.27 |
| ANSI/ASTM E119-1995 NFPA 251-2006 | Method for Fire Tests of Building Construction and Materials y Standard Methods of Tests of Fire Resistance of Building Construction and Materials | 450.42 Excepción, NOTA No 1 |
| NFPA 80-2007 | Standard for Fire Doors and Other Opening Protectives | 450.43 (A) Excepción, NOTA |
| ANSI/UL 555-1995 | - Standard for Fire Dampers | 450.45 (E) |
| ANSI/IEEE 18-1992 | Shunt Power Capacitors | 460.25 (D) |
| NFPA 70E-2004 | Standard for Electrical Safety in the Workplace, relativo a los requisitos de seguridad eléctrica para los sitios de trabajo de los empleados | 490.1 NOTA No 1 |
| NFPA 497-2004 NFPA 499-2004 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas y Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | Capítulo 5. Ocupaciones especiales ARTÍCULO 500 NOTA |
| ANSI/NEMA 250-1991 y ANSI/UL 1203-1994 | Enclosures for Electrical Equipment y Explosion-proof and Dust-Ignition-proof Electrical Equipment for Hazardous (Classified) Locations | 500.2, Aprueba de ignición de polvo, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Hermético al polvo, NOTA |
| ISA-RP12.12.03-2002 | Portable Electronic Products Suitable for Use in Class I and II, División 2, Class I Zone 2 and Class III, Division 1 and 2 Hazardous (Classified) Locations | 500.2, Equipo eléctrico y electrónico, NOTA |
| ANSI/UL 1203-1994 | Explosion-Proof and Dust-Ignition-Proof Electrical Equipment for Use in Hazardous (Classified) Locations | 500.2, Aparato a prueba de explosión, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Sellado herméticamente, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Circuito no incendiario, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Componente no incendiario, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Equipo no incendiario, NOTA |
| ANSI/ISA-12.12.01-2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2 and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 500.2, Aparato con alambrado en campo no incendiario, NOTA |
| ANSI/UL 698-1995 | Industrial Control Equipment for Use in Hazardous (Classified) Locations | 500.2, Inmersión en aceite, NOTA |
| ANSI/NFPA 496-2003 | Purged and Pressurized Enclosures for Electrical Equipment | 500.2, Purgado y presurizado, NOTA |
| NFPA 30-2008 NFPA 32-2007 NFPA 33-2007 NFPA 34-2007 NFPA 35-2005 NFPA 36-2004 NFPA 45-2004 NFPA 55-2005 NFPA 58-2008 NFPA 59-2004 NFPA 497-2004 NFPA 499-2004 NFPA 820-2008 ANSI/API RP 500-1997 ISA-12.10-1988 | Flammable and Combustible Liquids Code Standard for Dry-cleaning Plants Standard for Spray Application Using Flammable or Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids Standard for the Manufacture of Organic Coatings Standard for Solvent Extraction Plants Standard on Fire Protection for Laboratories Using Chemicals Standard for the Storage, Use, and Handling of Compressed Gases and Cryogenic Fluids in Portable and Stationary Containers, Cylinders, and Tanks Liquefied Petroleum Gas Code Utility LP-Gas Plant Code Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas Standard for Fire Protection in Wastewater Treatment and Collection Facilities Recommended Practice for Classification of Locations for Electrical Installations at Petroleum Facilities Classified as Class I, Division 1 and Division 2 Area Classification in Hazardous (Classified) Dust Locations | 500.4 (B), NOTA No. 2 |
| NFPA 77-2007 NFPA 780-2008 API RP 2003-1998 | Recommended Practice on Static Electricity Standard for the Installation of Lightning Protection Systems Protection Against Ignitions Arising Out of Static Lightning and Stray Currents | 500.4 (B), NOTA No. 3 |
| NFPA 30-2008 API RP500-1997 | Flammable and Combustible Liquids Code Recommended Practice for Classification of Locations for Electrical Installations at Petroleum Facilities Classified as Class I, Division 1 and Division 2 | 500.4 (B), NOTA No. 4 |
| ANSI/API RP 14F-1999 | Recommended Practice for Design and Installation of Electrical Systems for Fixed and Floating Offshore Petroleum Facilities for Unclassified and Class I, Division 1 y Division 2 Locations | 500.4 (B), NOTA No. 5 |
| ANSI/ASHRAE 15-1994 ANSI/CGA G2.1-1989 | Safety Code For Mechanical Refrigeration Safety Requirements for the Storage and Handling of Anhydrous Ammonia | 500.5 (B), Para cuartos y áreas que contienen sistemas de……….., NOTA |
| NFPA 30-2008 NFPA 58-2008 | Flammable and Combustible Liquids Code Liquefied Petroleum Gas Code | 500.5 (B) (2) (3), NOTA No. 2 |
| NFPA 497-2004, 3.3.5.1.1 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (A) (1) |
| NFPA 497-2004, 3.3.5.1.2 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (A) (2) |
| NFPA 497-2004, 3.3.5.1.3 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (A) (3) |
| NFPA 497-2004, 3.3.5.1.4 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (A) (4) |
| ANSI/ASHRAE 15-1994 ANSI/CGA G2.1-1989 | Safety Code for Mechanical Refrigeration Safety Requirements for the Storage and handling of Anhydrous Ammonia | 500.6 (A) (4), NOTA No. 2 |
| NFPA 499-2004, 3.3.4.1 | Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (B) (1) |
| ASTM D 3175-02 | Standard Test Method for Volatile Matter in the Analysis Sample for Coal and Coke | 500.6 (B) (2), información entre paréntesis |
| NFPA 499-2004, 3.3.4.2 | Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (B) (2), información entre corchetes |
| NFPA 499-2004, 3.3.4.2 | Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.6 (B) (3), NOTA No 1 |
| ANSI C2-2007, Sección 127ª | National Electrical Safety Code | 500.6 (B) (3), NOTA No 3 |
| ANSI/ISA-12.13.01-2003 (IEC 61779-1 a -5 Mod) ANSI/UL 2075 | Performance Requirements, Combustible Gas Detectors Gas and Vapor Detectors and Sensors | 500.7 (K), NOTA No 1 |
| ANSI/API RP 500 | Recommended Practice for Classification of Locations for Electrical Installations at Petroleum Facilities Classified as Class I, División 1 or División 2 | 500.7 (K), NOTA No 2 |
| ANSI/ISA-RP 12.13.02-2003 (IEC 61779-6 Mod) | Installation, Operation, and Maintenance of Combustible Gas Detection Instruments | 500.7 (K), NOTA No 3 |
| NFPA 497-2004 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.8 (D) (1) , NOTA |
| NFPA 499-2004 | Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 500.8 (D) (2) , NOTA |
| ANSI/ASME B1.20.1-1983 | Pipe Threads, General Purpose (Inch) | 500.8 (E) (1) , NOTA |
| ISO 965/1- 1980 ISO 965/3- 1980 | Metric Screw Threads Metric Screw Threads | 500.8 (E) (2) , NOTA |
| NFPA 496-2003 | Standard for Purged and Pressurized Enclosures for Electrical Equipment | 501.15 (A) (2) , NOTA No 2 |
| NFPA 496-2003 | Standard for Purged and Pressurized Enclosures for Electrical Equipment | 501.15 (B) (2) , Excepción No.3, NOTA |
| NFPA 496-2003 | Standard for Purged and Pressurized Enclosures for Electrical Equipment | 501.105 (A), NOTA |
| ASTM D 2155-69. | Test Procedure | 501.125 (A) (4)…. Los motores totalmente cerrados de los tipos especificados, NOTA |
| IEEE Std. 1349-2001 | Guide for the Application of Electric Motors in Class I, Division 2 Hazardous (Classified) Locations | 501.125 (B), NOTA No. 3 |
| NFPA 505-2006 | Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance, and Operation | 503.5, NOTA |
| ANSI/ISA RP 12.06.01-2003 | Wiring Methods for Hazardous (Classified) Locations Instrumentation - Part I: Intrinsic Safety | 504.1, NOTA |
| ANSI/UL 913-1997 | Standard for Safety, Intrinsically Safe Apparatus and Associated Apparatus for Use in Class I, II and III, Division I, Hazardous (Classified) Locations | 504.2, Circuito intrínsecamente seguro, NOTA |
| ANSI/ISA-RP 12.06.01-2003 | Wiring Methods for Hazardous (Classified) Locations Instrumentation - Part I: Intrinsic Safety | 504.50 (A), NOTA |
| ANSI/ISA-RP 12.06.01-2003 | Wiring Methods for Hazardous (Classified) Locations Instrumentation - Part I: Intrinsic Safety | 504.50 (B), NOTA |
| NFPA 497- 2004 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | Artículo 505 Lugares Clase I, Zonas 0, 1 y 2 NOTA |
| ANSI/ISA-60079-18 (12.23.01)- 2005 IEC 60079-18-1992 ANSI/UL 60079-18 | Electrical Apparatus for Use in Class I, Zone 1 Hazardous (Classified) Locations, Type of Protection-. Encapsulation "m" Electrical Apparatus for Explosive Gas Atmospheres - Part 18: Encapsulation "m" Electrical Apparatus for Explosive Gas Atmospheres – Part 18: Encapsulation “m” | 505.2, Encapsulación “m”, NOTA No. 1 |
| ANSI/ISA-60079-1 (12.22.01) - 2005 ANSI/UL 60079-1 | Electrical Apparatus for use in Class I, Zone 1 and 2 Hazardous (Classified) Locations, Type of Protection - Flameproof "d" Electrical Apparatus for Explosive Gas Atmospheres – Part 1: Flameproof Enclosures “d” | 505.2, A prueba de llama “d”, NOTA |
| ANSI/ISA-60079-7 (12.16.01)- 2002 ANSI/UL 60079-7 | Electrical Apparatus for Use in Class I, Zone 1 Hazardous (Classified) Locations, Type of Protection - Increased Safety "e" Electrical Apparatus for Explosive Gas Atmospheres - Part 7: Increased Safety "e” | 505.2, Seguridad aumentada “e”, NOTA |
| ANSI/UL 913-1997 ANSI/ISA-60079-11 (12.02.01) - 2002 ANSI/UL 60079-11 | Intrinsically Safe Apparatus and Associated Apparatus for Use in Class I, II, and III, Hazardous Locations Electrical Apparatus for Use in Class I, Zones 0, 1 and 2 Hazardous (Classified) Locations - Intrinsic Safety "i" Electrical Apparatus for Explosive Gas Atmospheres - Part II: Intrinsic Safety “i” | 505.2, Seguridad intrínseca “i”, NOTA No. 1 |
| ANSI/ISA-60079-6 (12.26.01)-1998 ANSI/UL 60079-6 | Electrical Apparatus for Use in Class I, Zone 1 Hazardous (Classified) Locations, Type of Protection – Oil-Immersion "o” Electrical Apparatus for Explosive Gas Atmospheres - Part 6: Oil-Immersión "o" | 505.2, Inmersión “o”, NOTA |
| ANSI/ISA-60079-5 (12.25.01)-1998 ANSI/UL 60079-5 | Electrical Apparatus for Use in Class I, Zone 1 Hazardous (Classified) Locations Type of Protection - Powder Filling "q" Electrical Apparatus for Explosive Gas Atmospheres - Part 5: Powder Filling "q" | 505.2, Relleno con polvo “q”, NOTA |
| ANSI/UL 60079-15- 2002 ANSI/ISA-60079-15 (12.12.02)- 2003 | Electrical Apparatus for Explosive Gas Atmospheres - Part 15: Type of Protection "n" Electrical Apparatus for Use in Class I, Zone 2 Hazardous (Classified) Locations: Type of Protection “n” | 505.2, Tipo de Protección "n”, NOTA |
| ANSI/API RP 505-1997 ANSI/ISA-TR (12.24.01)-1998 (IEC 60079-10 Mod) IEC 60079-10-1995 | Recommended Practice for Classification of Locations for Electrical Installations at Petroleum facilities Classified as Class I, Zone 0, Zone 1, or Zone 2 Recommended Practice for Classification of Locations for Electrical Installations Classified as Class 1, Zone 0, Zone 1, or Zone 2 Electrical Apparatus for Explosive Gas Atmospheres, Classification of hazardous Areas; y Model Code of Safe Practice in the Petroleum Industry, Part 15: Area Classification Code for petroleum Installations, IP 15, The Institute of petroleum, London | 505.4 (A), NOTA |
| ANSI/API RP 505-1997 ANSI/ISA-TR (12.24.01)-1998 (IEC 60079-10 Mod) IEC 60079-10-1995 | Recommended Practice for Classification of Locations for Electrical Installations at Petroleum facilities Classified as Class I, Zone 0, Zone 1, or Zone 2 Recommended Practice for Classification of Locations for Electrical Installations Classified as Class 1, Zone 0, Zone 1, or Zone 2 Electrical Apparatus for Explosive Gas Atmospheres, Classification of hazardous Areas; y Model Code of Safe Practice in the Petroleum Industry, Part 15: Area Classification Code for petroleum Installations, IP 15, The Institute of petroleum, London | 505.4 (B), NOTA No. 2 |
| NFPA 77- 20007 NFPA 780- 2004 API RP 20003-1998 | Recommended Practice on Static Electricity Standard for the Installation of Lightning Protection Systems Protection Against Ignitions Arising Out of Static Lightning and Stray Currents | 505.4 (B), NOTA No. 3 |
| NFPA 30- 2007 ANSI/API RP 505-1997 | Flammable and Combustible Liquids Code Recommended Practice for Classification of Locations for Electrical Installations at Petroleum Facilities Classified as Class I, Zone 0, Zone 1, or Zone 2 | 505.4 (B), NOTA No. 4 |
| ANSI/API RP 14FZ- 2000 | Recommended Practice for Design and Installation of Electrical Systems for Fixed and Floating Offshore Petroleum Facilities for Unclassified and Class I, Zone 0, Zone 1, or Zone 2 Locations | 505.4 (B), NOTA No. 5 |
| IEC 60079-14-1996 IEC 60079-16-1990 | Electrical apparatus for explosive gas atmospheres – Part 14: Electrical installations in explosive gas atmospheres (other than mines) Electrical apparatus for explosive gas atmospheres – Part 16: Artificial ventilation for the protection of analyzer(s) houses | 505.4 (B), NOTA No. 6 |
| ANSI/ISA-60079-0 (12.00.01) - 2005 ANSI/ISA-12.01.01-1999 ANSI/UL 60079-0 | Electrical Apparatus for Use in Class , Zones 0 and 1, Hazardous (Classified) Locations: General Requirements Definitions and Information Pertaining to Electrical Apparatus in Hazardous (Classified) Locations Electrical Apparatus for Explosive Gas Atmospheres – Part 0: General requirements | 505.4 (B), NOTA No. 7 |
| ANSI/CGA G2.1-1989 (14-39) ANSI/ASHRAE 15-1994 | Safety Requirements for the Storage and Handling of Anhydrous Ammonia Safety Code For Mechanical Refrigeration | 505.5 (A), Los recintos y áreas que contienen……, NOTA |
| ANSI/API RP 505-1997 ansi/isa-tr 12.24.01-1998 (IEC 60079-10 Mod) IEC 60079-10-1995 Institute of Petroleum | Recommended Practice for Classification of Locations for Electrical Installations of Petroleum Facilities Classified as Class I, Zone 0, Zone 1 or Zone 2 Recommended Practice for Classification of Locations for Electrical Installations Classified as Class I, Zone 0, Zone 1 or Zone 2 Electrical Apparatus for Explosive Gas Atmospheres, Classifications of Hazardous Areas Area Classification Code for Petroleum Installations, Model Code, Part 15 | 505.5 (B) (1) (2), NOTA No. 1 |
| IEC 60079-1A-1975 | Amendment No.1 (1993) Construction and Verification Tests of Flame-proof Enclosures of Electrical Apparatus Y UL Technical Report No. 58 (1993) | 505.6, El Grupo II se debe subdividir en.….., NOTA No. 1, primera referencia |
| IEC 60079-11-1999 | Electrical apparatus for explosive gas atmospheres – Part 11: Intrinsic safety “i” | 505.6, El Grupo II se debe subdividir en…….., NOTA No. 1, segunda referencia |
| IEC 60079-12-1978 | Classification of mixtures of gases or vapours with air according to their maximum experimental safe gaps and minimum igniting currents | 505.6, El Grupo II se debe subdividir en…….., NOTA No. 1, tercera referencia |
| NFPA 497-2004, 3.3.5.2.1 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 505.6 (A) |
| NFPA 497-2004, 3.3.5.2.2 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 505.6 (B) |
| NFPA 497-2004, 3.3.5.2.3 | Recommended Practice for the Classification of Flammable Liquids, Gases, or Vapors and of Hazardous (Classified) Locations for Electrical Installations in Chemical Process Areas | 505.6 (C) |
| ANSI/ISA-60079-0 (12.00.01)- 2005 ansi/isa -12.01.01-1999 ANSI/UL 60079-0 | Electrical Apparatus for use in Class I, Zones 0 and 1 Hazardous (Classified) Locations, General Requirements Definitions and Information Pertaining to Electrical Apparatus in Hazardous (Classified) locations Electrical Apparatus for Explosive Gas Atmospheres - Part 0: General Requirements | 505.8, NOTA |
| ANSI/API RP 505 | Recommended Practice for Classification of Locations for Electrical Installations at Petroleum Facilities Classified as Class I, Zone 0, Zone 1 and Zone 2 | 505.8 (K), NOTA No. 1 |
| ISA-RP 12.13.02- 2003 (IEC 61779-6 Mod) | Installation, Operation, and Maintenance of Combustible Gas Detection Instruments | 505.8 (K), NOTA No. 2 |
| NFPA 497- 2004 IEC 60079- 200-1996 | Recommended Practice for the Classification of Flammable Liquids, Gases, or vapors and of Hazardous (Classified) Locations for Electrical Installations In Chemical Process Areas Electrical Apparatus for Explosive Gas Atmospheres, Data for Flammable Gases and Vapours, Relating to the Use of Electrical Apparatus | 505.9 (D), NOTA |
| ANSI/ASME B1. 200.1-1983 | Pipe Threads, General Purpose (Inch) | 505.9 (E) (1), NOTA |
| Metric Screw Threads Metric Screw Threads | ISO 965/1-1980 ISO 965/3-1980 | 505.9 (E) (2), NOTA |
| NFPA 496-2003 | Standard for Purged and Pressurized Enclosures for Electrical Equipment | 505.16 (B) (3), NOTA No. 2 |
| NFPA 496-2003 | Standard for Purged and Pressurized Enclosures for Electrical Equipment | 505.16 (C) (1) (b), Excepción No.3, NOTA |
| ANSI/UL 1 2003 | Explosion-proof and Dust-Ignition-Proof Electrical Equipment for Use in Hazardous (Classified) Locations | 505.16 (C) (2) (b), NOTA No. 1 |
| ANSI/ISA-12.27.01- 2003 | Requirements for Process Sealing Between Electrical Systems and Potentially Flammable or Combustible Process Fluids | 505.16 (E) (3), El equipo conectado al proceso, NOTA |
| ANSI/ISA-61241-10 (12.10.05)- 2004 IEC 61241-10 Mod | Electrical Apparatus for Use in Zone 20, Zone 21 y Zone 22 Hazardous (Classified) Locations – Classification of Zone 20, Zone 21 Zone 22 Hazardous (Classified) Locations | 506.1, NOTA No. 2 |
| ANSI/NEMA 250-1991 ANSI/UL 1 2003-1994 | Enclosures for Electrical Equipment Explosion-proof and Dust-Ignition-proof Electrical Equipment for Hazardous (Classified) Locations | 506.2, A prueba de ignición de polvo, NOTA |
| ANSI/ISA-12.12.01- 2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2, and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 506.2, Circuito no incendiario, NOTA |
| ANSI/ISA-12.12.01- 2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2, and Class III, Division 1 and 2 Hazardous (Classified) Locations | 506.2, Equipo no incendiario, NOTA |
| ANSI/ISA-12.12.01- 2000 | Nonincendive Electrical Equipment for Use in Class I and II, Division 2, and Class III, Divisions 1 and 2 Hazardous (Classified) Locations | 506.2, Aparato con alambrado en campo no incendiario, NOTA |
| ANSI/NFPA 496- 2003 | Purged and Pressurized Enclosures for Electrical Equipment | 506.2, Presurizado, NOTA |
| ISA-61241-18 (12.10.07) - 2006 | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Protection by Encapsulation "mD" | 506.2, Protección mediante encapsulación “mD”, NOTA |
| ISA 61241-0 (12.10.02) ISA 61241-1 (12.10.03) | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – General Requirements (IEC 61241-0 Mod) Electrical Apparatus for Use in Zone 21 and Zone 22 Hazardous (Classified) Locations – Protection by Enclosure “tD” (IEC 61241-1 Mod) | 506.2, Protección mediante envolvente “tD”, NOTA |
| ISA 61241-11 (12.10.06) | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Protection by Intrinsic Safety “iD” | 506.2, Protección mediante seguridad intrínseca “iD”, NOTA |
| ISA 61241-2 (12.10.04) | Electrical Apparatus for Use in Zone 21 and Zone 22 Hazardous (Classified) Locations – Protection by Pressurization “pD” | 506.2, Protección mediante presurización “pD”, NOTA |
| ANSI/ISA-61241-10 (12.10.05) – 2004 | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Classification of Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations (IEC 61241-10 Mod) | 506.2, Protección mediante presurización “pD”, NOTA |
| ANSI/ISA-61241-10 (12.10.05) – 2004 | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Classification of Zone 20, Zone 21and Zone 22 Hazardous (Classified) Locations (IEC 61241-10 Mod) | 506.5, (B) (1) (b), NOTA No. 1 |
| ANSI/ISA-61241-10 (12.10.05) – 2004 | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Classification of Zone 20, Zone 21and Zone 22 Hazardous (Classified) Locations (IEC 61241-10 Mod) | 506.5, (B) (2) (d), NOTA No. 1 |
| ANSI/ISA-61241-10 (12.10.05) – 2004 | Electrical Apparatus for Use in Zone 20, Zone 21 and Zone 22 Hazardous (Classified) Locations – Classification of Zone 20, Zone 21and Zone 22 Hazardous (Classified) Locations (IEC 61241-10 Mod) | 506.5, (B) (3) (c), NOTA No. 1 |
| NFPA 499- 2004 | Recommended Practice for the Classification of Combustible Dusts and of Hazardous (Classified) Locations for Electrical Installations in Chemical Processing Areas | 506.20, (E) (2), NOTA |
| NFPA 30A- 2004 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Artículo 511 Garajes comerciales, para reparación y almacenamiento, NOTA |
| NFPA 30A- 2004, 3.3.12.1 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.2, Garajes para reparaciones mayores, NOTA |
| NFPA 30A- 2004, 3.3.12.2 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.2, Garajes para reparaciones menores, NOTA |
| NFPA 30A- 2004; 8.3.5, 8.3.2 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.3 |
| NFPA 88A- 2007 NFPA 30A- 2004 | Standard for Parking Structures Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.3 (A), NOTA |
| NFPA 30A- 2004; 7.4.5.4, Tabla 8.3.1 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.3 (D) (3) (a) |
| NFPA 30A- 2004; 8.3.5, Excepción | Code for Motor Fuel Dispensing Facilities and Repair Garages | 511.3 (E) (2) |
| NFPA 409- 2004 | Standard on Aircraft Hangars | 513.1, NOTA No. 1 |
| NFPA 30- 2004 | Flammable and Combustible Liquids Code | 513.1, NOTA No. 2 |
| NFPA 33- 2007 | Standard for Spray Applications Using Flammable or Combustible Materials | 513.3 (C) (2), NOTA |
| NFPA 30A- 2008 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Artículo 514 Despacho de combustible y estaciones de servicio, NOTA |
| NFPA 30A- 2008 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.1, NOTA |
| NFPA 30A- 2008, 3.3.11 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.2, Gasolineras y estaciones de servicio |
| NFPA 30A- 2008, 8.1, 8.3 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.3 (B) (1) |
| NFPA 30A- 2008; 12.1, 12.4, 12.5 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.3 (B) (2) |
| NFPA 58- 2004 | Liquefied Petroleum Gas Code | 514.3 (B) (2), NOTA No. 1 |
| NFPA 58- 2004 NFPA 59- 20004 | Liquefied Petroleum Gas Code Utility LP-Gas Plant Code | 514.3 (B) (2), NOTA No. 2 |
| ANSI/UL 87-1995 | Power - Operated Dispensing Devices for Petroleum Products | Tabla 514.3 (B) (1), Dispositivo surtidor (1), NOTA |
| ANSI/UL 87-1995 | Power - Operated Dispensing Devices for Petroleum Products | Tabla 514.3 (B) (1), Dispositivo surtidor (2), NOTA |
| NFPA 30A- 2008, 10.1.7 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Tabla 514.3 (B) (1), Equipos de procesamiento de vapores ubicados dentro de envolventes protectores, NOTA |
| NFPA 30A- 2008, 4.3.9 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Parte inferior de la Tabla 514.3 (B) (1), 4 NOTA |
| ANSI/UL 87-1995 | Power - Operated Dispensing Devices for Petroleum Products | Parte inferior de la Tabla 514.3 (B) (1), 5 NOTA |
| NFPA 30A- 2008, Tabla 8.3.1 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Parte inferior de la Tabla 514.3 (B) (1), 5 NOTA, referencia entre corchetes |
| NFPA 30A- 2008, Tabla 12.6.2 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Parte inferior de la Tabla 514.3 (B) (2), referencia entre corchetes |
| NFPA 30A- 2008, Figura 8.3.1 | Code for Motor Fuel Dispensing Facilities and Repair Garages | Figura 514.3, referencia entre corchetes |
| NFPA 30A- 2008, 6.7.1 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.11 (B) |
| NFPA 30A- 2008, 6.7.2 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.11 (C) |
| NFPA 30A- 2008, 6.7.1 y 6.7.2 | Code for Motor Fuel Dispensing Facilities and Repair Garages | 514.11 (C), NOTA |
| NFPA 30- 2008 | Flammable and Combustible Liquids Code | Artículo 515 Plantas de almacenamiento a granel, NOTA |
| NFPA 30- 2008, 3.3.32.1 | Flammable and Combustible Liquids Code | 515.2, Planta o terminal de almacenamiento a granel |
| NFPA 30- 2004 | Flammable and Combustible Liquids Code | 515.2, Planta o terminal de almacenamiento a Granel, NOTA |
| NFPA 30- 2008; 8.1, 8.2.2 | Flammable and Combustible Liquids Code | 515.3 |
| NFPA 30- 2004, Capítulo 5 en todos los aspectos | Flammable and Combustible Liquids Code | 515.3, NOTA No. 1 |
| NFPA 30- 2008, Tabla 8.2.2 | Flammable and Combustible Liquids Code | Tabla 515.3, al final de la tabla, 2 Al clasificar la extensión del área………., referencia entre corchetes |
| NFPA 30- 2008, Figura 7.7.16 | Flammable and Combustible Liquids Code | Figura 515.3 |
| NFPA 30- 2004; 4.5.3.4 y 4.5.3.5 | Flammable and Combustible Liquids Code | 515.16, NOTA |
| NFPA 33-2007 NFPA 34-2007 | Standard for Spray Application Using Flammable and Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids | ARTÍCULO 516 Procesos de aplicación por rociado, procesos de inmersión y recubrimiento, NOTA |
| NFPA 33-2007 NFPA 34-2007 NFPA 91-2004 | Standard for Spray Application Using Flammable and Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids Standard for Exhaust Systems for Air Conveying of Vapors, Gases, Mists, and Noncombustible Particulate Solids. | 516.1, NOTA |
| NFPA 33-2007, 4.3.5 NFPA 34-2007, 4.2, 4.3, y 4.4 | Standard for Spray Application Using Flammable or Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquid | 516.3(A)(2), NOTA |
| NFPA 33-2007, 6.5.2.2 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(2)(b) |
| NFPA 34-2007; 6.4.4 Excepción | Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids | 516.3 (C)(6), Excepción |
| NFPA 33-2007, figura 6.5.1 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(2)(b), figura 516.3(C) (1) |
| NFPA 33-2007, 6.5.3 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(2)(3) |
| NFPA 33-2007, 6.5.4 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(4) |
| NFPA 33-2007, 6.4.4 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(5) |
| NFPA 33-2007, 6.6.2 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (C)(7) |
| NFPA 34-2007; 6.5.3 | Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids | 516.3 (D) |
| NFPA 34-2007; 6.5.2 | Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids | 516.3 (D), Excepción |
| NFPA 33-2007, Figuras 6.5.2(a) y 6.5.2 (b) | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (D), Excepción, Figura 516.3(C) (2) |
| NFPA 33-2007, Figura 6.5.4 | Standard for Spray Application Using Flammable and Combustible Materials | 516.3 (D), Excepción, Figura 516.3(C) (4) |
| NFPA 34-2007; Figura 6.4(a) | Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids | 516.3 (D), Excepción, Figura 516.3(C) (5) |
| NFPA 86-2007 | Standard for Ovens and Furnace | 516.3 (F), NOTA |
| NFPA 33-2007, 6.4.2 | Standard for Spray Application Using Flammable and Combustible Materials | 516.4 (B) |
| NFPA 33-2007, 6.9, Excepción | Standard for Spray Application Using Flammable and Combustible Materials | 516.4 (D), Excepción No 1 |
| NFPA 33-2007 | Standard for Spray Application Using Flammable and Combustible Materials | 516.4 (E), NOTA |
| NFPA 33-2007 | Standard for Spray Application Using Flammable and Combustible Materials | 516.10 (A)(6), NOTA |
| NFPA 33-2007 NFPA 34-2007 NFPA 77-2007 | Standard for Spray Application Using Flammable or Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids Recommended Practice on Static Electricity | 516.10 (A)(6), NOTA |
| NFPA 33-2007, 11.4.1 | Standard for Spray Application Using Flammable and Combustible Materials | 516.10 (A)(10)(a) |
| NFPA 33-2007, 11.3.8 | Standard for Spray Application Using Flammable and Combustible Materials | 516.10 (A)(10)(b) |
| NFPA 33-2007 NFPA 34-2007 NFPA 77-2007 | Standard for Spray Application Using Flammable or Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids Recommended Practice on Static Electricity | 516.10 (B)(4), NOTA |
| NFPA 33-2007, CAPITULO 12 | Standard for Spray Application Using Flammable and Combustible Materials | 516.10 (B)(5) |
| NFPA 33-2007 NFPA 34-2007 NFPA 77-2007 | Standard for Spray Application Using Flammable or Combustible Materials Standard for Dipping and Coating Processes Using Flammable or Combustible Liquids Recommended Practice on Static Electricity | 516.10 (C)(4)(b), NOTA |
| NFPA 33-2007, CAPITULO 15 | Standard for Spray Application Using Flammable and Combustible Materials | 516.10 (C)(4)(d) |
| NFPA 99-2005 NFPA 101-2006 | Standard for Health Care Facilities Life safety Code. | Artículo 517 Instalaciones para el cuidado de la salud, NOTA |
| NFPA 101-2006, 3.3.168.1 | Life safety Code | 517.2, Inmueble de ocupación para el cuidado de la salud ambulatoria (3) |
| NFPA 99-2005, 3.3. 26 | Standard for Health Care Facilities | 517.2, Ramal crítico. |
| NFPA 99-2005, 3.3. 37 | Standard for Health Care Facilities | 517.2, Equipo eléctrico de soporte de vida. |
| NFPA 99-2005, 3.3. 41 | Standard for Health Care Facilities | 517.2, Sistema de emergencia. |
| NFPA 99-2005, 3.3. 44 | Standard for Health Care Facilities | 517.2, Sistema eléctrico esencial. |
| NFPA 101-2006, 3.3.124 | Life safety Code | 517.2, Hospital |
| NFPA 99-2005, 3.3. 96 | Standard for Health Care Facilities | 517.2, Ramal de seguridad para la vida. |
| NFPA 99-2005, 3.3. 97 | Standard for Health Care Facilities | 517.2, Instalación de cuidados limitados. |
| NFPA 99-2005, 3.3. 129 | Standard for Health Care Facilities | 517.2, Casa con atención de enfermeras |
| NFPA 99-2005, 3.3. 137 | Standard for Health Care Facilities | 517.2, Ubicación de la cama de un paciente |
| NFPA 99-2005 | Standard for Health Care Facilities | 517.2, Área de cuidado de pacientes, Áreas de cuidado general |
| NFPA 99-2005, 3.3.140 | Standard for Health Care Facilities | 517.2, Proximidad al cuidado de los pacientes. |
| NFPA 99-2005, 3.3.141 | Standard for Health Care Facilities | 517.2, Punto para puesta a tierra del equipo para pacientes |
| NFPA 101-2006, 3.3.124 | Life safety Code | 517.10 (B)(2), NOTA |
| NFPA 99-2005 | Standard for Health Care Facilities | 517.25, NOTA |
| NFPA 99-2005 NFPA 20-2007 | Standard for Health Care Facilities. Standard for the Installation of Stationary Fire Pumps for Fire Protection (Para la instalación de bombas centrífugas contra incendios) | 517.30 (A), NOTA No 1 |
| NFPA 99-2005 | Standard for Health Care Facilities | 517.30 (A), NOTA No 2 |
| NFPA 99-2005, 4.4.2.2.1.1 | Standard for Health Care Facilities | 517.30 (B)(2) |
| NFPA 99-2005; 4.4.3.2(operación de los interruptores de transferencia tipo I), 4.4.2.1.4(características de los interruptores de transferencia automática) y 4.4.2.1.6(características de los dispositivos de transferencia no automática) | Standard for Health Care Facilities | 517.30 (B)(4), NOTA No 1 |
| NFPA 99-2005, 13.3.4.3 | Standard for Health Care Facilities | 517.30 (B)(6) |
| NFPA 99-2005, 4.4.2.2.4.2 (B) | Standard for Health Care Facilities | 517.30 (E) |
| NFPA 99-2005, 4.4.2.2.2.1, 4.4.3.1 | Standard for Health Care Facilities | 517.31 |
| NFPA 101-2006, 7.8 y 7.9 | Life safety Code | 517.32 (A), NOTA |
| NFPA 101-2006, 7.10 | Life safety Code | 517.32 (B), NOTA |
| NFPA 101-2006, 9.6 y 18.3.4 | Life safety Code | 517.32 (C)(1), NOTA |
| NFPA 99-2005, 4.4.2.2.2.2(3) | Standard for Health Care Facilities | 517.32 (C)(2), NOTA |
| NFPA 99-2005, 4.4.2.2.2.2(3) | Standard for Health Care Facilities | 517.32 (C)(2), NOTA |
| NFPA 99-2005, 4.4.2.2.2.2 (5) | Standard for Health Care Facilities | 517.32 (E) |
| NFPA 99-2005, 4.4.2.2.2.2 (7) | Standard for Health Care Facilities | 517.32 (H) |
| NFPA 99-2005, 4.4.2.2.2.3 (9) | Standard for Health Care Facilities | 517.33 (A)(9) |
| NFPA 99-2005, 4.4.2.2.3.2 | Standard for Health Care Facilities | 517.34 |
| NFPA 99-2005, 4.4.2.2.3.4(1) hasta (6) | Standard for Health Care Facilities | 517.34(A)(6) |
| NFPA 99-2005, 4.4.2.2.3.5(9) | Standard for Health Care Facilities | 517.34(B)(8) |
| NFPA 99-2005, 4.4.2.2.3.3 | Standard for Health Care Facilities | 517.34(C) |
| NFPA 99-2005, 4.4.1.1.4 | Standard for Health Care Facilities | 517.35(A) |
| NFPA 99-2005, 4.4.1.2 | Standard for Health Care Facilities | 517.35(B)(4) |
| NFPA 99-2005; 17.3.4.2.2 (3), 18.3.4.2.2 (3) | Standard for Health Care Facilities | 517.40 (A)(c) |
| NFPA 101-2006 | Life safety Code | 517.40 (A)(c), NOTA |
| NFPA 99-2005 | Standard for Health Care Facilities | 517.40 (C), NOTA |
| NFPA 99-2005, A.4.5.2.2.1 | Standard for Health Care Facilities | 517.41 (A) |
| NFPA 99-2005, 4.5.2.2.1 | Standard for Health Care Facilities | 517.41 (B) |
| NFPA 99-2005; 4.5.3.2 (operación de los interruptores de transferencia del tipo II), 4.4.2.1.4 (características de los interruptores de transferencia automática) y 4.4.2.1.6 (características de los dispositivos de transferencia no automática) | Standard for Health Care Facilities | 517.41 (B), NOTA No 1 |
| NFPA 99-2005, 4.5.2.2.4.2 | Standard for Health Care Facilities | 517.41 (E) |
| NFPA 101-2006, 7.8 y 7.9 | Life safety Code | 517.42 (A), NOTA |
| NFPA 101-2006, 7.10 | Life safety Code | 517.42 (B), NOTA |
| NFPA 101-2006, 9.6 y 18.3.4 | Life safety Code | 517.42 (C)(1), NOTA |
| NFPA 99-2005, 4.4.2.2.2.2(3) | Standard for Health Care Facilities | 517.42 (C)(2), NOTA |
| NFPA 99-2005; 4.4.2.2.2.2(6), 4.5.2.2.2(7) | Standard for Health Care Facilities | 517.42 (G) |
| NFPA 99-2005, 4.5.2.2.3.1 | Standard for Health Care Facilities | 517.43 |
| NFPA 99-2005, 4.5.2.2.3.3(1) hasta (5) | Standard for Health Care Facilities | 517.43 (A)(5) |
| NFPA 99-2005, 4.5.2.2.3.4(A), (B) y (C) | Standard for Health Care Facilities | 517.43 (B)(3) |
| NFPA 99-2005, 4.4.1.1.4 | Standard for Health Care Facilities | 517.44 (A) |
| NFPA 99-2005 | Standard for Health Care Facilities | 517.45 (A), NOTA |
| NFPA 99-2005, 14.3.4.2.1 | Standard for Health Care Facilities | 517.45 (B) |
| NFPA 99-2005, 14.3.4.2.2 | Standard for Health Care Facilities | 517.45 (C) |
| NFPA 99-2005 | Standard for Health Care Facilities | Artículo 517 Instalaciones para el cuidado de la salud, IV, NOTA |
| NFPA 99-2005, Anexo E, E.1 y E.2 | Standard for Health Care Facilities | 517.60 (A)(1) |
| NFPA 99-2005, Anexo E, E.6.6.2 | Standard for Health Care Facilities | 517.61 (A)(1) |
| NFPA 99-2005, Anexo E, E.2.1, E.4.5, E.4.6 y E.4.7 | Standard for Health Care Facilities | 517.61 (A)(3) |
| NFPA 99-2005, 4.4.2.2.4.6 | Standard for Health Care Facilities | 517.80 |
| NFPA 99-2005, 4.3.2.6.1 | Standard for Health Care Facilities | 517.160(A)(2) |
| NFPA 101-2006 | Life safety Code | 518.2 (C), NOTA |
| NFPA 40-2007 | Standard for the Storage and Handling of Cellulose Nitrate Film | 540.1, NOTA |
| NFPA 101-2006 | Life safety Code | 540.10, NOTA |
| (ASABE) EP473.2-2001 | (American Society of Agricultural and Biological Engineers) Equipotential Planes in Animal Containment Areas | 547.10 (B), NOTA No. 1 |
| (ASABE) EP342.2-1995 | (American Society of Agricultural and Biological Engineers) Safety for Electrically Heated Livestock Waterers | 547.10 (B), NOTA No. 2 |
| NFPA 501-2005 y la Parte 3280 | Standard on Manufactured Housing Manufactured Home Construction and Safety Standards del Federal Department of Housing and Urban Development | 550.1, NOTA |
| Parte 3280 | Manufactured Home Construction and Safety Standards del Federal Department of Housing and Urban Development | 550.2, Casa prefabricada, NOTA No. 2 |
| ANSI/NEMA WD6-1989, Figura 14-50 | National Electrical Manufacturers Association, Standard for Dimensions of Attachment Plugs and Receptacles | 550.10 (C), NOTA |
| ANSI/NEMA WD6-1989, Figura 14-50 | National Electrical Manufacturers Association, Standard for Wiring Devices – Dimensional Requirements | 550.32 (C), NOTA |
| NFPA 1192-2005 ANSI/RVIA 12V-2005 | Standard on Recreational Vehicles Standard for Low Voltage Systems in Conversion and Recreational Vehicles | 551.1, NOTA |
| NFPA 1192-2005 ANSI/RVIA 12V-2005 | Standard on Recreational Vehicles Standard for Low Voltage Systems in Conversion and Recreational Vehicles | 551.4 (B), NOTA |
| NFPA 1192-2005 | Standard on Recreational Vehicles | 551.30 (D), NOTA |
| ANSI/NEMA WD 6-2002, Figura 5.15 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 551.46 (C) (1), NOTA |
| ANSI/NEMA WD 6-2002, Figura 5.20 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 551.46 (C) (2), NOTA |
| ANSI/NEMA WD 6-2002, Figura TT | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 551.46 (C) (3), NOTA |
| ANSI/NEMA WD 6-2002, Figura 14.50 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 551.46 (C) (4), NOTA |
| ANSI/NEMA WD 6-2002, Figura 14.50, TT y 5-20 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 551.81 (3), NOTA |
| SAE J1128-1995 SAE J1127-1995 | Para los tipos GXL, HDT y SXL Para los tipos SGT y SGR | 552.10 (B) (2), NOTA |
| ANSI/SAE J554-1987 SAE J1284-1988 UL 275-1993 | Standard for Electric Fuses (Cartridge Type) Standard for Blade Type Electric Fuses Standard For Automotive Glass Tube Fuses | 552.10 (E) (2), NOTA |
| ANSI/NEMA WD 6-1989, Figura TT | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 552.44 (C) (1), NOTA |
| ANSI/NEMA WD 6-1989, Figura 14-50 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 552.44 (C) (2), NOTA |
| NFPA 303-2006 | Fire Protection Standard for Marinas and Boatyards | 555.1, NOTA |
| NFPA 303-2006 | Fire Protection Standard for Marinas and Boatyards | 555.13 (B) (3), NOTA |
| NFPA 303-2006 | Fire Protection Standard for Marinas and Boatyards | 555.19 (A) (4), NOTA |
| ANSI/NEMA 18WD 6-1989 | Standard for Dimensions of Attachment Plugs and Receptacles de la National Electrical Manufacturers Association | 555.19 (A) (4) (a), NOTA |
| ANSI/UL 1686 | UL Standard for Safety Pin and Sleeve Configurations | 555.19 (A) (4) (b), NOTA |
| NFPA 303-2006 NFPA 30A-2008 | Fire Protection Standard for Marinas and Boatyards Motor Fuel Dispensing Facilities and Repair Garages | 555.21 (A), NOTA |
| ANSI B30 | Safety Code for Cranes, Derricks, Hoists, Jacks, and Slings | 610.1, NOTA |
| ASME A17.1-2004 | Safety Code for Elevators and Escalator | 620.1, NOTA No.1 |
| CSA B44.1-04/ASME-A17.5-2004 | Elevator and Escalator Electrical Equipment Certification Standard | 620.1, NOTA No.2 |
| ASME A18.1-2003 | Safety Standard for Platform Lifts and Stairway Lifts | 620.1, NOTA No.3 |
| ANSI/UL 1581-2001 | Reference Standard for Electrical Wires, Cables and Flexible Cords | 620.11, NOTA |
| ASME A17.1-2004 | Safety Code for Elevators and Escalators | 620.23(C), NOTA |
| ASME A17.1-2004 | Safety Code for Elevators and Escalators | 620.24(C), NOTA |
| NFPA 780-2008 | Standard for the Installation of Lightning Protection Systems | 620.37(B), NOTA |
| ASME A17.1-2004 | Safety Code for Elevators and Escalators | 620.51(A), NOTA |
| ASME A17.1-2004 CSA B44-04, 2.27.2 | Safety Code for Elevators and Escalators Elevator and Escalator Electrical Equipment Certification Standard | 620.91, NOTA |
| NFPA 505-2006 | Fire Safety Standard for Powered Industrial Trucks Including Type Designations, Areas of Use, Conversions, Maintenance, and Operation | 625.1, NOTA |
| NFPA 88A-2007 NFPA 30A-2008 | Standard For Parking Structures Code for Fuel Dispensing Facilities and Repair Garages. | 626.3(B), NOTA |
| ANSI/NEMA WD6-2002, Figura 5-20 | Standard for Dimensions of Attachment Plugs and Receptacles | 626.24(B)(1), NOTA |
| ANSI/NEMA WD6-2002, Figura 5-15 a 5-20 | Standard for Dimensions of Attachment Plugs and Receptacles | 626.25(B)(4)(a), Excepción, NOTA |
| ANSI/UL 1686, Figura C2.10 o Parte C3 | Standard for Pin and Sleeve Configurations | 626.25(B)(4)(b), NOTA |
| ANSI/UL 1686, Figura C2.9 o Parte C3 | Standard for Pin and Sleeve Configurations | 626.25(B)(5), Excepción, NOTA |
| ANSI/UL 1686, Figura C2.11 | Standard for Pin and Sleeve Configurations | 626.31(C)(2), NOTA |
| ANSI/UL 1686, Figuras C2.12 y C2.11 ANSI/UL 1686 (Para las diversas configuraciones del receptáculo de 60 amperes de pin y manguito) | Standard for Pin and Sleeve Configurations | 626.32(C)(2), NOTA |
| ANSI//EIA/310-D-1992 | Cabinets, Racks, Panels and Associated Equipment | 640.2, Bastidor del equipo |
| NFPA 90A-2002, 4.3.10.2.6 (permite la instalación de altavoces, ensambles de altavoces y sus accesorios listados). De acuerdo con UL UL 2043-1996, en otros espacios empleados para aire ambiental (cámaras de distribución de aire en la cavidad de los cielos rasos) | Standard for the Installation of Air Conditioning and Ventilation Systems Fire Test for Heat and Visible Smoke Release for Discrete Products and their Accessories Installed in Air-Handling Spaces | 640.3(A)(b), NOTA |
| NFPA® 72-2007(códigos) NFPA 101®-2006(códigos) | National Fire Alarma Code Life Safety Code | 640.3(J), NOTA |
| NFPA 72-2007 | National Fire Alarm Code | 640.9(B), NOTA No 2 |
| ANSI/UL 1711-1994 | Amplifiers for Fire Protective Signalling Systems Use. | 640.9(C), NOTA No 1 |
| ANSI/UL 813-1996 ANSI/UL 1419-1997 ANSI/UL 1492-1996 ANSI/UL 6500-1996 | Comercial Audio Equipment Profesional Video and Audio Equipment Audio-Video Products and Accessories Audio/Video and Musical Instrument Apparatus for Household, Comercial and Similar Use. | 640.9(C), NOTA No 2 |
| NFPA 256-2003 | Standard Methods of Fire Tests of Roof Coverings. | 640.25(C), NOTA |
| NFPA 75-2003 | Standard for the Protection of Information Technology Equipment | 645.1, NOTA |
| NFPA 75-2003, Capítulo 10, 10.1, 10.1.1, 10.1.2 y 10.1. | Standard for the Protection of Information Technology Equipment | 645.4(2), NOTA |
| NFPA 75-2003, Capítulo 5 | Standard for the Protection of Information Technology Equipment | 645.4(5), NOTA |
| ANSI/UL 1581-2001 | Referente Standard for Electrical Wires, Cables and Flexible Cords | 650.6(D), NOTA |
| IEEE 463-1993 | Standard for Electrical Safety Practices in Electrolytic Cell Line Working Zones | 668.1, NOTA No.2 |
| NFPA 79-2007 | Electric Standard for Industrial Machinery | 670.1, NOTA No 1 |
| NFPA 79-2007 | Electric Standard for Industrial Machinery | 670.1, NOTA No 2 |
| UL 508A-2001, se encuentra un ejemplo de un método aprobado | Supplement SB | 670.3(A)(4)(b), NOTA |
| NFPA 20-2007 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.1(B)(2), NOTA |
| NFPA 20-2007, 9.2.2 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.3(A)(1) |
| NFPA 20-2007, 9.2.3 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.3(A)(2) |
| NFPA 20-2007, 9.6.1 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.3(B)(1) |
| NFPA 20-2007, 9.2.2 (4) | Standard for the Installation of Stationary Pumps for Fire Protection | 695.3(B)(2) |
| NFPA 20-2007, 9.2.3.3 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.4(B)(5) |
| NFPA 20-2007, 9.4.2 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.7, Excepciòn |
| NFPA 20-2007, 9.5.1.1., 10.1.2.1, 12.1.3.1 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.10 |
| NFPA 20-2007, 10.5.2.6, 12.5.2.5 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.14(A) |
| NFPA 20-2007, 10.4.5.6 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.14(B) |
| NFPA 20-2007, 10.8.3.1 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.14(C) |
| NFPA 20-2007, 12.3.5.1 | Standard for the Installation of Stationary Pumps for Fire Protection | 695.14(D) |
| NFPA 99-2005 | Standard for Health Care Facilities | 700.1, NOTA No.2 |
| NFPA 101-2006 | Life Safety Code | 700.1, NOTA No.4 |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 700.1, NOTA No.5 |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 700.4 (E), NOTA |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 700.7 (D), NOTA |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 700.9 (D) (2), NOTA |
| NFPA 101-2006, parte 6.1 | Life Safety Code | 700.9 (D) (2), NOTA |
| NFPA 101-2006, parte 6.1 | Life Safety Code | 700.12, NOTA No.1 |
| NFPA 99-2005 | Standard for Health Care Facilities | 701.1, NOTA No.1 |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 701.1, NOTA No.2 |
| ANSI/IEEE 446-1995 | Recommended Practice for Emergency and Standby Power Systems for Industrial and Commercial Applications | 701.1, NOTA No.3 |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 701.5 (E), NOTA |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 701.8 (C), NOTA |
| NFPA 1600-2007 | Standard on Disaster/Emergency Management and Business Continuity Programs | Artículo 708 (Sistemas de alimentación para operaciones críticas (COPS - Critical Operations Power Systems)), NOTA |
| NFPA 1600-2007 | Standard on Disaster/Emergency Management and Business Continuity Programs | 708.1, NOTA No. 2 |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 708.1, NOTA No. 3 |
| NFPA 99-2005 | Standard for Health Care Facilities | 708.1, NOTA No. 4 |
| NFPA 110®-2006, parte 6.1 | Life Safety Code | 708.1, NOTA No. 5 |
| NFPA 730-2006 | Guide for Premises Security | 708.1, NOTA No. 6 |
| NFPA 1600-2007, parte A.5.3.2 | Standard on Disaster/Emergency Management and Business Continuity Programs | 708.1, NOTA No. 7 |
| NFPA 1600-2007, Capitulo 5 | Standard on Disaster/Emergency Management and Business Continuity Programs | 708.4, NOTA |
| NFPA 70B-2006 | Recommended Practice for Electrical Equipment Maintenance | 708.6 (C), NOTA |
| NFPA 110-2005 | Standard for Emergency and Standby Power Systems | 708.6, (E), NOTA |
| NFPA 70B-2006 | Recommended Practice for Electrical Equipment Maintenance | 708.8 (A), NOTA |
| NFPA 110-2005 Y NFPA 111-2005 | Standard for Emergency and Standby Power Systems Standard for Stored Energy Emergency and Standby Power Systems | 708.22, (D), NOTA |
| NFPA 1600-2007, Parte 5.7 | Standard on Disaster/Emergency Management and Business Continuity Programs | 708.64, NOTA |
| UL 60950-1-2003 | Standard for Safety of Information Technology Equipment | 725.121 (A) (4), NOTA |
| NFPA 262-2007 | Standard Method of Test for Flame Travel and Smoke of Wires And Smoke of Wires and Cables for Use in Air-Handling Spaces | 725. 179 (A), NOTA |
| ANSI/UL 1666-2002 | Test for Flame Propagation Height of Electrical and Optical-Fiber Cable Installed Vertically in Shafts | 725. 179 (B), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 725. 179 (C), NOTA |
| ANSI/UL 1581-2001 | Reference Standard for Electrical Wires, Cables and Flexible Cords | 725. 179 (D), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 725. 179 (E), Excepción No. 2, NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 725. 179 (E), Excepción No. 2, NOTA, párrafo inferior |
| UL 2196-2002 | Standard for Tests of Fire Resistive Cables | 725. 179 (F), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 725. 179 (H), NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 725. 179 (H), NOTA, párrafo inferior |
| UL 2004 | Standard for Optical Fiber Cable Raceway | 725. 179 (J), NOTA |
| UL 2004 | Standard for Optical Fiber Cable Raceway | 725. 179 (K), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 727. 6, NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 727. 6, NOTA, párrafo inferior |
| NFPA 72®-2007 | National Fire Alarm Code | 760. 1, NOTA No. 1 |
| NFPA 262-2007 | Standard Method of Test for Flame Travel and Smoke of Wires and Cables for Use in Air-Handling Spaces | 760. 176 (C), NOTA |
| ANSI/UL 1666-2002 | Test for Flame Propagation Height of Electrical and Optical-Fiber Cables Installed Vertically in Shafts | 760. 176 (D), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 760. 176 (E), NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 760. 176 (E), NOTA, párrafo inferior |
| UL 2196-1995 | Standard for Tests of Fire Resistive Cables | 760. 176 (F), NOTA No. 2 |
| NFPA 262-2007 | Standard Method of Test for Flame Travel and Smoke of Wires and Cables for Use in Air-Handling Spaces | 760. 179 (D), NOTA |
| ANSI/UL 1666-2002 | Standard Test for Flame Propagation Height of Electrical and Optical-Fiber Cable Installed Vertically in Shafts | 760. 179 (E), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 760. 179 (F), NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 760. 179 (F), NOTA, párrafo inferior |
| UL 2196-1995 | Standard for Tests of Fire Resistive Cables | 760. 179 (G), NOTA No. 2 |
| ANSI/NECA/BICSI 568-2001 ANSI/NECA/FOA 301-2004 | Standard for Installing Comercial Building Telecommunications Cabling Standard for Installing and Testing Fiber Optic Cables | 770. 24, NOTA |
| NFPA 262-2007 | Standard Method of Test for Flame Travel and Smoke of Wires and Cables for Use in Air-Handling Spaces | 770. 179 (A), NOTA |
| ANSI/UL 1666-2002 | Standard Test for Flame Propagation Height of Electrical and Optical Fiber Cable Installed Vertically in Shafts | 770. 179 (B), NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 770. 179 (C), NOTA |
| UL 1685-2000 | Standard for Safety for Vertical-Tray Fire-Propagation and Smoke-Release Test for Electrical and Optical-Fiber Cables | 770. 179 (D), NOTA |
| CSA C22.2 No. 0.3-M2001 | Test Methods for Electrical Wires and Cables | 770. 179 (D), NOTA, párrafo inferior |
| UL 2024 | Standard for Optical Fiber Cable Raceway | 770. 182 (A), NOTA |
| UL 2024 | Standard for Optical Fiber Cable Raceway | 770. 182 (B), NOTA |
| UL 2024 | Standard for Optical Fiber Cable Raceway | 770. 182 (C), NOTA |